## Project Case
The Project
X Company is offering to sell 100% business interest to Company A in a 26,880 KW solar PV farm power project.
The power plant is expected to generate a power energy of 39,631680 KWHr on its first year of operation with an annual attenuation (reduced generation) rate of 0.50% per annum on its succeeding year of operation
Estimated Project Cost
The estimated cost for the proposed project is approximately USD 1,796 per KW. The unit cost involves an all-inclusive costs for construction of the proposed power plant prior to its operation.
Operation and Maintenance (O&M) Cost
The proposed power plant is expected to be constructed within a year and operate for 25 years based on its economic life. The annual O&M Cost for the first year of operation is USD 0.01225 per KWHr.
Annual increase in O&M is assumed to be at 7%
Other operating expenses are, as follows;
Particulars | Cost
Insurance | 0.50% of net book value of the plant
Provision for community services | 0.50% of gross revenue
Business Local tax | 1% of gross revenue
Real property tax | 1.5% of net book value of the plant
Government Share | 1% of gross revenue
Grid Connection Fee | Php 3M per annum (fixed)
Sources of Revenue
During operation period of the plant, Company A, will be paid by a distribution utility on a fixed amount of Php 8.54 per KWHr for the power energy produced.
No escalation of the power tariff is expected.
Financing Assumptions
BEC intends to use a mixed financing, through loan and equity
A local bank is offering a project financing loan of up to 70% of the total project cost. The drawdown will be based on the actual construction of the project.
The loan tenor is up to 12 years from the date of drawdown, inclusive of 18 months grace period on principal.
The principal repayment is payable in 42 equal quarterly amortizations with 35% balloon payment due at maturity date.
Principal repayment to commence after the grace period.
BEC has to renew the ballooned balance for the remaining economic life of the project
Cost of money for the loan and equity are 6% p.a. and 16% p.a. respectively.
Other Assumptions
Assume the straight-line depreciation method will be used for this project. Salvage value is zero at the end of the plant's economic life
On the corporate income tax rate, assume it to be 10%.
Assume forex of USDPHP 51.00
Requirements
1. Prepare the financial spreadsheets and compute for the following:
Project IRR
NPV on Project
Equity IRR
NPV on Equity
ROI
Debt Service Coverage Ratio (DSCR)
2. What is the project's WACC? Use this WACC as the discount rate for determining the NPV's
3. Is the project viable and attractive from the perspective of BEC? Explain using the resulting financial indicators.
4. Prepare a sensitivity analysis table to determine the project's viability (project and equity), in case of the following;
a. 20% increase / decrease in project cost
b. 20% increase / decrease in power tariff
c. Combination of Items a and b
5. Since Company A has invited to acquire 100% stake of the project, a premium cost for the development of the project is being charged by X Company amounting to USD 15 million.
At Company A's point-of-view, is the project still viable to pursue? Explain using the resulting financial indicators.
6. However, Company A decided to acquire only 60% stake of the project. How much would be an equitable and reasonable premium that Company A have to pay to the X Company?
Explain using the resulting financial indicators.

## Model
PROJECT DETAILS AND PROJECT COST |  |  |  | REVENUE AND GENERATION ASSUMPTIONS
Legend:
Input Variable | Value (Hardcoded)
Output Variable | Formula (Pls. Do not hardcode)
Project Type | Power Project |  |  | 1st Year Power Generation (KWHr) |  |  |  | 39631680
Energy Type | Solar PV Farm |  |  | Annual Attenuation Rate |  |  |  | 0.5%
Generation (KW) | 26880 |  |  | Power Generation Fee (Php / KWHr) |  |  |  | 8.54
Unit Cost (USD / KW) | 1796 |  |  | USDPHP Rate |  |  |  | 51
Estimated Construction Cost (in 000's of PHP) | 2462100480
Construction Period (Months) | 12
Monthly Construction Cost (in 000's of PHP) | 205175040
REVENUE AND GENERATION SCHEDULE (in 000's of PHP)
REVENUE |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Power Generation (KWHr) |  |  |  | 0 | 39631680 | 39433521.6 | 39236353.992 | 39040172.222 | 38844971.3609 | 38650746.5041 | 38457492.7716 | 38265205.3077 | 38073879.2812 | 37883509.8848 | 37694092.3354 | 37505621.8737 | 37318093.7643 | 37131503.2955 | 36945845.779 | 36761116.5501 | 36577310.9674 | 36394424.4126 | 36212452.2905 | 36031390.029 | 35851233.0789 | 35671976.9135 | 35493617.0289 | 35316148.9438 | 35139568.1991
Gross Revenue (Php) |  |  |  | 0 | 338454547.2 | 336762274.464 | 335078463.0917 | 333403070.7762 | 331736055.4223 | 330077375.1452 | 328426988.2695 | 326784853.3282 | 325150929.0615 | 323525174.4162 | 321907548.5441 | 320298010.8014 | 318696520.7474 | 317103038.1437 | 315517522.9529 | 313939935.3382 | 312370235.6615 | 310808384.4832 | 309254342.5608 | 307708070.848 | 306169530.4937 | 304638682.8413 | 303115489.427 | 301599911.9799 | 300091912.42
OPERATION AND MAINTENANCE SCHEDULE | (in 000's of PHP)
O&M Assumptions
1st Year O&M Cost (USD / KWHr) | 0.01225 |  |  | 0: Effective 1st Year O&M Cost (in 000's of PHP); 4: 24759892.08
1st Year O&M Cost (PHP / KWHr) | 0.62475 |  |  | 0: Annual O&M Increase (%); 4: 7%
Operation and Maintenance |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Main O&M Expense |  |  |  | 0 | 24759892.08 | 26493084.5256 | 28347600.4424 | 30331932.4734 | 32455167.7465 | 34727029.4887 | 37157921.553 | 39758976.0617 | 42542104.386 | 45520051.693 | 48706455.3115 | 52115907.1833 | 55764020.6862 | 59667502.1342 | 63844227.2836 | 68313323.1934 | 73095255.817 | 78211923.7242 | 83686758.3848 | 89544831.4718 | 95812969.6748 | 102519877.552 | 109696268.9807 | 117375007.8093 | 125591258.356
Additional O&M Expense | Assumption | Value
Insurance | % Net plant book value | 0.5% |  | 0 | 11818082.304 | 11325662.208 | 10833242.112 | 10340822.016 | 9848401.92 | 9355981.824 | 8863561.728 | 8371141.632 | 7878721.536 | 7386301.44 | 6893881.344 | 6401461.248 | 5909041.152 | 5416621.056 | 4924200.96 | 4431780.864 | 3939360.768 | 3446940.672 | 2954520.576 | 2462100.48 | 1969680.384 | 1477260.288 | 984840.192 | 492420.096 | -7.4506e-10
Provision for community services | % Gross revenue | 0.5% |  | 0 | 1692272.736 | 1683811.3723 | 1675392.3155 | 1667015.3539 | 1658680.2771 | 1650386.8757 | 1642134.9413 | 1633924.2666 | 1625754.6453 | 1617625.8721 | 1609537.7427 | 1601490.054 | 1593482.6037 | 1585515.1907 | 1577587.6148 | 1569699.6767 | 1561851.1783 | 1554041.9224 | 1546271.7128 | 1538540.3542 | 1530847.6525 | 1523193.4142 | 1515577.4471 | 1507999.5599 | 1500459.5621
Business Local tax | % Gross revenue | 1% |  | 0 | 3384545.472 | 3367622.7446 | 3350784.6309 | 3334030.7078 | 3317360.5542 | 3300773.7515 | 3284269.8827 | 3267848.5333 | 3251509.2906 | 3235251.7442 | 3219075.4854 | 3202980.108 | 3186965.2075 | 3171030.3814 | 3155175.2295 | 3139399.3534 | 3123702.3566 | 3108083.8448 | 3092543.4256 | 3077080.7085 | 3061695.3049 | 3046386.8284 | 3031154.8943 | 3015999.1198 | 3000919.1242
Real property tax | % Net plant book value | 1.5% |  | 0 | 35454246.912 | 11325662.208 | 10833242.112 | 10340822.016 | 9848401.92 | 9355981.824 | 8863561.728 | 8371141.632 | 7878721.536 | 7386301.44 | 6893881.344 | 6401461.248 | 5909041.152 | 5416621.056 | 4924200.96 | 4431780.864 | 3939360.768 | 3446940.672 | 2954520.576 | 2462100.48 | 1969680.384 | 1477260.288 | 984840.192 | 492420.096 | -7.4506e-10
Provision for ER-1-94 | Php per KWHr | 0.01 |  | 0 | 396316.8 | 394335.216 | 392363.5399 | 390401.7222 | 388449.7136 | 386507.465 | 384574.9277 | 382652.0531 | 380738.7928 | 378835.0988 | 376940.9234 | 375056.2187 | 373180.9376 | 371315.033 | 369458.4578 | 367611.1655 | 365773.1097 | 363944.2441 | 362124.5229 | 360313.9003 | 358512.3308 | 356719.7691 | 354936.1703 | 353161.4894 | 351395.682
Government Share | % Gross revenue | 1% |  | 0 | 3384545.472 | 3367622.7446 | 3350784.6309 | 3334030.7078 | 3317360.5542 | 3300773.7515 | 3284269.8827 | 3267848.5333 | 3251509.2906 | 3235251.7442 | 3219075.4854 | 3202980.108 | 3186965.2075 | 3171030.3814 | 3155175.2295 | 3139399.3534 | 3123702.3566 | 3108083.8448 | 3092543.4256 | 3077080.7085 | 3061695.3049 | 3046386.8284 | 3031154.8943 | 3015999.1198 | 3000919.1242
Grid Connection Fee | Fixed (in Php) | 3000000 |  | 0 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 3000000
Total Additional O&M Expense |  |  |  | 0 | 59130009.696 | 34464716.4936 | 33435809.3412 | 32407122.5236 | 31378654.9392 | 30350405.4917 | 29322373.0905 | 28294556.6503 | 27266955.0913 | 26239567.3393 | 25212392.325 | 24185428.9848 | 23158676.2603 | 22132133.0985 | 21105798.4516 | 20079671.277 | 19053750.5372 | 18028035.2002 | 17002524.2389 | 15977216.6315 | 14952111.3611 | 13927207.4162 | 12902503.79 | 11877999.4809 | 10853693.4925
Total Operation and Maintenance Expense |  |  |  | 0 | 83889901.776 | 60957801.0192 | 61783409.7836 | 62739054.997 | 63833822.6857 | 65077434.9804 | 66480294.6434 | 68053532.712 | 69809059.4773 | 71759619.0323 | 73918847.6365 | 76301336.1681 | 78922696.9465 | 81799635.2327 | 84950025.7352 | 88392994.4704 | 92149006.3542 | 96239958.9244 | 100689282.6238 | 105522048.1033 | 110765081.0359 | 116447084.9682 | 122598772.7707 | 129253007.2903 | 136444951.8485
Additional Cost Assumptions
Corporate Tax Rate | % Earnings Before Taxes (EBT) | 10%
INCOME STATEMENT
Income Statement |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Revenue |  |  |  | 0 | 338454547.2 | 336762274.464 | 335078463.0917 | 333403070.7762 | 331736055.4223 | 330077375.1452 | 328426988.2695 | 326784853.3282 | 325150929.0615 | 323525174.4162 | 321907548.5441 | 320298010.8014 | 318696520.7474 | 317103038.1437 | 315517522.9529 | 313939935.3382 | 312370235.6615 | 310808384.4832 | 309254342.5608 | 307708070.848 | 306169530.4937 | 304638682.8413 | 303115489.427 | 301599911.9799 | 300091912.42
Operating and Maintenance (O&M) Expense |  |  |  | 0 | -83889901.776 | -60957801.0192 | -61783409.7836 | -62739054.997 | -63833822.6857 | -65077434.9804 | -66480294.6434 | -68053532.712 | -69809059.4773 | -71759619.0323 | -73918847.6365 | -76301336.1681 | -78922696.9465 | -81799635.2327 | -84950025.7352 | -88392994.4704 | -92149006.3542 | -96239958.9244 | -100689282.6238 | -105522048.1033 | -110765081.0359 | -116447084.9682 | -122598772.7707 | -129253007.2903 | -136444951.8485
EBITDA |  |  |  | 0 | 254564645.424 | 275804473.4448 | 273295053.3081 | 270664015.7792 | 267902232.7367 | 264999940.1648 | 261946693.6261 | 258731320.6162 | 255341869.5842 | 251765555.3839 | 247988700.9077 | 243996674.6333 | 239773823.8009 | 235303402.9109 | 230567497.2178 | 225546940.8678 | 220221229.3073 | 214568425.5588 | 208565059.937 | 202186022.7447 | 195404449.4578 | 188191597.873 | 180516716.6564 | 172346904.6896 | 163646960.5715
Depreciation and Amortization |  |  |  | 0 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2
Operating Income (EBIT) |  |  |  | 0 | 156080626.224 | 177320454.2448 | 174811034.1081 | 172179996.5792 | 169418213.5367 | 166515920.9648 | 163462674.4261 | 160247301.4162 | 156857850.3842 | 153281536.1839 | 149504681.7077 | 145512655.4333 | 141289804.6009 | 136819383.7109 | 132083478.0178 | 127062921.6678 | 121737210.1073 | 116084406.3588 | 110081040.737 | 103702003.5447 | 96920430.2578 | 89707578.673 | 82032697.4564 | 73862885.4896 | 65162941.3715
Interest Expense |  |  |  | 0 | -67215343.104 | -66925237.3624 | -63065846.0032 | -58064039.8983 | -52755305.2114 | -47120807.7147 | -41140557.4457 | -34793337.7865 | -28056630.1925 | -20906534.3009 | -13317683.1381 | -5263153.1229 | -35489196.3255 | -33545961.1936 | -31483482.2544 | -29294442.2844 | -26971075.0493 | -24505137.7513 | -21887881.7851 | -19110021.6998 | -16161702.2567 | -13032463.4641 | -9711203.4684 | -6186139.1669 | -2444764.4036
EBT |  |  |  | 0 | 88865283.12 | 110395216.8824 | 111745188.1049 | 114115956.6809 | 116662908.3253 | 119395113.2501 | 122322116.9804 | 125453963.6297 | 128801220.1917 | 132375001.883 | 136186998.5695 | 140249502.3104 | 105800608.2754 | 103273422.5173 | 100599995.7634 | 97768479.3834 | 94766135.058 | 91579268.6075 | 88193158.9519 | 84591981.8448 | 80758728.0011 | 76675115.209 | 72321493.988 | 67676746.3228 | 62718176.9679
Provision for Corporate Income Taxes |  |  |  | 0 | -8886528.312 | -11039521.6882 | -11174518.8105 | -11411595.6681 | -11666290.8325 | -11939511.325 | -12232211.698 | -12545396.363 | -12880122.0192 | -13237500.1883 | -13618699.857 | -14024950.231 | -10580060.8275 | -10327342.2517 | -10059999.5763 | -9776847.9383 | -9476613.5058 | -9157926.8608 | -8819315.8952 | -8459198.1845 | -8075872.8001 | -7667511.5209 | -7232149.3988 | -6767674.6323 | -6271817.6968
Net Income |  |  |  | 0 | 79978754.808 | 99355695.1941 | 100570669.2944 | 102704361.0128 | 104996617.4927 | 107455601.9251 | 110089905.2823 | 112908567.2667 | 115921098.1725 | 119137501.6947 | 122568298.7126 | 126224552.0794 | 95220547.4479 | 92946080.2656 | 90539996.187 | 87991631.4451 | 85289521.5522 | 82421341.7468 | 79373843.0567 | 76132783.6604 | 72682855.201 | 69007603.6881 | 65089344.5892 | 60909071.6905 | 56446359.2711
DEPRECIATION SCHEDULE
Depreciation Method | Straight-Line |  |  | 0: Salvage Value; 4: 0
Initial Book Value (in 000's Php) | 2462100480 |  |  | 0: Annual Depreciation (in 000's Php); 4: -98484019.2
Plant Economic Life (Years) | 25
Book Value |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Initial Book Value |  |  |  | 0 | 2462100480 | 2363616460.8 | 2265132441.6 | 2166648422.4 | 2068164403.2 | 1969680384 | 1871196364.8 | 1772712345.6 | 1674228326.4 | 1575744307.2 | 1477260288 | 1378776268.8 | 1280292249.6 | 1181808230.4 | 1083324211.2 | 984840192 | 886356172.8 | 787872153.6 | 689388134.4 | 590904115.2 | 492420096 | 393936076.8 | 295452057.6 | 196968038.4 | 98484019.2
Depreciation |  |  |  | 0 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2 | -98484019.2
Ending / Net Book Value |  |  |  | 0 | 2363616460.8 | 2265132441.6 | 2166648422.4 | 2068164403.2 | 1969680384 | 1871196364.8 | 1772712345.6 | 1674228326.4 | 1575744307.2 | 1477260288 | 1378776268.8 | 1280292249.6 | 1181808230.4 | 1083324211.2 | 984840192 | 886356172.8 | 787872153.6 | 689388134.4 | 590904115.2 | 492420096 | 393936076.8 | 295452057.6 | 196968038.4 | 98484019.2 | -1.4901e-07
DEBT SCHEDULE
Project Cost (in 000's PHP) |  | 2462100480 |  | 0: Annual Interest Rate; 4: 6%
Loan Component (%) |  | 70% |  | 0: Initial Quarterly Interest Rate; 4: 1.5%
Loan Amount (in 000's PHP) |  | 1723470336 |  | 0: Balloon Payment Amount (in 000's PHP); 4: 603214617.6
Balloon Payment Portion (%) |  | 35% |  | 0: Remaining Balance (in 000's PHP); 4: 1120255718.4
Loan Tenor (Yrs) |  | 12 |  | 0: Initial Loan Payment Amount (in 000's PHP); 4: -36144218.5482
Loan Tenor (Qtr) |  | 48 |  | 0: Balloon Refinance Rate (Quarterly); 4: 1.5%
Grace Period (Qtr) |  | 6 |  | 0: Refinancing Payment Amount (in 000's PHP); 4: -16789194.0135
Amortization Period (Qtr) |  | 42 |  | 0: Refinancing Tenor / Amortization (Qtr); 4: 52
Quarterly Amortization |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100
Beginning Balance |  | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1100915335.6278 | 1081284847.114 | 1061359901.2725 | 1041136081.2434 | 1020608903.9138 | 999773818.9243 | 978626207.66 | 957161382.2267 | 935374584.4119 | 913260984.6299 | 890815680.8511 | 868033697.5157 | 844909984.4302 | 821439415.6484 | 797616788.3349 | 773436821.6118 | 748894155.3877 | 723983349.1703 | 698698880.8597 | 673035145.5244 | 646986454.159 | 620547032.4232 | 593711019.3614 | 566472466.1036 | 538825334.5469 | 510763496.0169 | 482280729.909 | 453370722.3094 | 424027064.5958 | 394243252.0166 | 364012682.2486 | 333328653.9341 | 302184365.1949 | 270572912.1246 | 238487287.2583 | 205920378.019 | 172864965.1411 | 139313721.07 | 105259208.3378 | 70693877.9147 | 35610067.5352 | 603214617.6 | 595473642.8505 | 587616553.4797 | 579641607.7684 | 571547037.8714 | 563331049.426 | 554991821.1538 | 546527504.4576 | 537936223.011 | 529216072.3426 | 520365119.4142 | 511381402.1919 | 502262929.2113 | 493007679.1359 | 483613600.3095 | 474078610.3006 | 464400595.4416 | 454577410.3597 | 444606877.5015 | 434486786.6505 | 424214894.4368 | 413788923.8398 | 403206563.6839 | 392465468.1256 | 381563256.134 | 370497510.9625 | 359265779.6134 | 347865572.2941 | 336294361.865 | 324549583.2794 | 312628633.0151 | 300528868.4968 | 288247607.5108 | 275782127.6099 | 263129665.5105 | 250287416.4797 | 237252533.7134 | 224022127.7055 | 210593265.6076 | 196962970.5782 | 183128221.1233 | 169085950.4267 | 154833045.6696 | 140366347.3411 | 125682648.5377 | 110778694.2522 | 95651180.6525 | 80296754.3488 | 64712011.6505 | 48893497.8117 | 32837706.2654 | 16541077.8458
Payment |  | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -36144218.5482 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135 | -16789194.0135
Interest |  | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16803835.776 | -16513730.0344 | -16219272.7067 | -15920398.5191 | -15617041.2187 | -15309133.5587 | -14996607.2839 | -14679393.1149 | -14357420.7334 | -14030618.7662 | -13698914.7694 | -13362235.2128 | -13020505.4627 | -12673649.7665 | -12321591.2347 | -11964251.825 | -11601552.3242 | -11233412.3308 | -10859750.2376 | -10480483.2129 | -10095527.1829 | -9704796.8124 | -9308205.4863 | -8905665.2904 | -8497086.9916 | -8082380.0182 | -7661452.4403 | -7234210.9486 | -6800560.8346 | -6360405.9689 | -5913648.7802 | -5460190.2337 | -4999929.809 | -4532765.4779 | -4058593.6819 | -3577309.3089 | -3088805.6703 | -2592974.4771 | -2089705.816 | -1578888.1251 | -1060408.1687 | -534151.013 | -9048219.264 | -8932104.6428 | -8814248.3022 | -8694624.1165 | -8573205.5681 | -8449965.7414 | -8324877.3173 | -8197912.5669 | -8069043.3452 | -7938241.0851 | -7805476.7912 | -7670721.0329 | -7533943.9382 | -7395115.187 | -7254204.0046 | -7111179.1545 | -6966008.9316 | -6818661.1554 | -6669103.1625 | -6517301.7998 | -6363223.4166 | -6206833.8576 | -6048098.4553 | -5886982.0219 | -5723448.842 | -5557462.6644 | -5388986.6942 | -5217983.5844 | -5044415.428 | -4868243.7492 | -4689429.4952 | -4507933.0275 | -4323714.1127 | -4136731.9141 | -3946944.9827 | -3754311.2472 | -3558788.0057 | -3360331.9156 | -3158898.9841 | -2954444.5587 | -2746923.3169 | -2536289.2564 | -2322495.685 | -2105495.2101 | -1885239.7281 | -1661680.4138 | -1434767.7098 | -1204451.3152 | -970680.1748 | -733402.4672 | -492565.594 | -248116.1677
Principal Payment |  | 0 | 0 | 0 | 0 | 0 | 0 | -19340382.7722 | -19630488.5138 | -19924945.8415 | -20223820.0291 | -20527177.3296 | -20835084.9895 | -21147611.2643 | -21464825.4333 | -21786797.8148 | -22113599.782 | -22445303.7788 | -22781983.3354 | -23123713.0855 | -23470568.7818 | -23822627.3135 | -24179966.7232 | -24542666.224 | -24910806.2174 | -25284468.3107 | -25663735.3353 | -26048691.3653 | -26439421.7358 | -26836013.0619 | -27238553.2578 | -27647131.5567 | -28061838.53 | -28482766.108 | -28910007.5996 | -29343657.7136 | -29783812.5793 | -30230569.768 | -30684028.3145 | -31144288.7392 | -31611453.0703 | -32085624.8663 | -32566909.2393 | -33055412.8779 | -33551244.0711 | -34054512.7322 | -34565330.4231 | -35083810.3795 | -35610067.5352 | -7740974.7495 | -7857089.3708 | -7974945.7113 | -8094569.897 | -8215988.4454 | -8339228.2721 | -8464316.6962 | -8591281.4467 | -8720150.6684 | -8850952.9284 | -8983717.2223 | -9118472.9806 | -9255250.0753 | -9394078.8265 | -9534990.0089 | -9678014.859 | -9823185.0819 | -9970532.8581 | -10120090.851 | -10271892.2138 | -10425970.597 | -10582360.1559 | -10741095.5583 | -10902211.9916 | -11065745.1715 | -11231731.3491 | -11400207.3193 | -11571210.4291 | -11744778.5855 | -11920950.2643 | -12099764.5183 | -12281260.9861 | -12465479.9009 | -12652462.0994 | -12842249.0309 | -13034882.7663 | -13230406.0078 | -13428862.0979 | -13630295.0294 | -13834749.4548 | -14042270.6967 | -14252904.7571 | -14466698.3285 | -14683698.8034 | -14903954.2855 | -15127513.5997 | -15354426.3037 | -15584742.6983 | -15818513.8388 | -16055791.5463 | -16296628.4195 | -16541077.8458
Drawdown / Renewal |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 603214617.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance |  | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1120255718.4 | 1100915335.6278 | 1081284847.114 | 1061359901.2725 | 1041136081.2434 | 1020608903.9138 | 999773818.9243 | 978626207.66 | 957161382.2267 | 935374584.4119 | 913260984.6299 | 890815680.8511 | 868033697.5157 | 844909984.4302 | 821439415.6484 | 797616788.3349 | 773436821.6118 | 748894155.3877 | 723983349.1703 | 698698880.8597 | 673035145.5244 | 646986454.159 | 620547032.4232 | 593711019.3614 | 566472466.1036 | 538825334.5469 | 510763496.0169 | 482280729.909 | 453370722.3094 | 424027064.5958 | 394243252.0166 | 364012682.2486 | 333328653.9341 | 302184365.1949 | 270572912.1246 | 238487287.2583 | 205920378.019 | 172864965.1411 | 139313721.07 | 105259208.3378 | 70693877.9147 | 35610067.5352 | 603214617.6 | 595473642.8505 | 587616553.4797 | 579641607.7684 | 571547037.8714 | 563331049.426 | 554991821.1538 | 546527504.4576 | 537936223.011 | 529216072.3426 | 520365119.4142 | 511381402.1919 | 502262929.2113 | 493007679.1359 | 483613600.3095 | 474078610.3006 | 464400595.4416 | 454577410.3597 | 444606877.5015 | 434486786.6505 | 424214894.4368 | 413788923.8398 | 403206563.6839 | 392465468.1256 | 381563256.134 | 370497510.9625 | 359265779.6134 | 347865572.2941 | 336294361.865 | 324549583.2794 | 312628633.0151 | 300528868.4968 | 288247607.5108 | 275782127.6099 | 263129665.5105 | 250287416.4797 | 237252533.7134 | 224022127.7055 | 210593265.6076 | 196962970.5782 | 183128221.1233 | 169085950.4267 | 154833045.6696 | 140366347.3411 | 125682648.5377 | 110778694.2522 | 95651180.6525 | 80296754.3488 | 64712011.6505 | 48893497.8117 | 32837706.2654 | 16541077.8458 | -9.7789e-07
Refinance
Annual Amortization Summary |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Beginning Balance |  |  |  |  | 1120255718.4 | 1100915335.6278 | 1020608903.9138 | 935374584.4119 | 844909984.4302 | 748894155.3877 | 646986454.159 | 538825334.5469 | 424027064.5958 | 302184365.1949 | 172864965.1411 | 35610067.5352 | 579641607.7684 | 546527504.4576 | 511381402.1919 | 474078610.3006 | 434486786.6505 | 392465468.1256 | 347865572.2941 | 300528868.4968 | 250287416.4797 | 196962970.5782 | 140366347.3411 | 80296754.3488 | 16541077.8458
Payment |  |  |  |  | -67215343.104 | -105896108.6484 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541
Interest |  |  |  |  | -67215343.104 | -66925237.3624 | -63065846.0032 | -58064039.8983 | -52755305.2114 | -47120807.7147 | -41140557.4457 | -34793337.7865 | -28056630.1925 | -20906534.3009 | -13317683.1381 | -5263153.1229 | -35489196.3255 | -33545961.1936 | -31483482.2544 | -29294442.2844 | -26971075.0493 | -24505137.7513 | -21887881.7851 | -19110021.6998 | -16161702.2567 | -13032463.4641 | -9711203.4684 | -6186139.1669 | -2444764.4036
Principal Payment |  |  |  |  | 0 | -38970871.286 | -81511028.1897 | -86512834.2945 | -91821568.9814 | -97456066.4781 | -103436316.7471 | -109783536.4063 | -116520244.0004 | -123670339.8919 | -131259191.0547 | -139313721.07 | -31667579.7286 | -33610814.8604 | -35673293.7997 | -37862333.7697 | -40185701.0048 | -42651638.3028 | -45268894.269 | -48046754.3542 | -50995073.7974 | -54124312.59 | -57445572.5857 | -60970636.8872 | -64712011.6505
Drawdown / Renewal |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 603214617.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance |  |  |  |  | 1120255718.4 | 1081284847.114 | 999773818.9243 | 913260984.6299 | 821439415.6484 | 723983349.1703 | 620547032.4232 | 510763496.0169 | 394243252.0166 | 270572912.1246 | 139313721.07 | 603214617.6 | 571547037.8714 | 537936223.011 | 502262929.2113 | 464400595.4416 | 424214894.4368 | 381563256.134 | 336294361.865 | 288247607.5108 | 237252533.7134 | 183128221.1233 | 125682648.5377 | 64712011.6505 | -9.7789e-07
CASH FLOW STATEMENT AND FINANCING
NET CASH FLOW
in 000's Php |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
EBITDA |  |  |  | 0 | 254564645.424 | 275804473.4448 | 273295053.3081 | 270664015.7792 | 267902232.7367 | 264999940.1648 | 261946693.6261 | 258731320.6162 | 255341869.5842 | 251765555.3839 | 247988700.9077 | 243996674.6333 | 239773823.8009 | 235303402.9109 | 230567497.2178 | 225546940.8678 | 220221229.3073 | 214568425.5588 | 208565059.937 | 202186022.7447 | 195404449.4578 | 188191597.873 | 180516716.6564 | 172346904.6896 | 163646960.5715
Taxes |  |  |  | 0 | -8886528.312 | -11039521.6882 | -11174518.8105 | -11411595.6681 | -11666290.8325 | -11939511.325 | -12232211.698 | -12545396.363 | -12880122.0192 | -13237500.1883 | -13618699.857 | -14024950.231 | -10580060.8275 | -10327342.2517 | -10059999.5763 | -9776847.9383 | -9476613.5058 | -9157926.8608 | -8819315.8952 | -8459198.1845 | -8075872.8001 | -7667511.5209 | -7232149.3988 | -6767674.6323 | -6271817.6968
Delta Working Capital
Capex |  |  |  | 0: -2462100480
Operating Cash Flow |  |  |  | -2462100480 | 245678117.112 | 264764951.7566 | 262120534.4976 | 259252420.1111 | 256235941.9042 | 253060428.8398 | 249714481.928 | 246185924.2532 | 242461747.565 | 238528055.1956 | 234370001.0507 | 229971724.4023 | 229193762.9734 | 224976060.6592 | 220507497.6414 | 215770092.9295 | 210744615.8015 | 205410498.6981 | 199745744.0418 | 193726824.5602 | 187328576.6577 | 180524086.3521 | 173284567.2576 | 165579230.0574 | 157375142.8747
Principal Payment |  |  |  | 0 | 0 | -38970871.286 | -81511028.1897 | -86512834.2945 | -91821568.9814 | -97456066.4781 | -103436316.7471 | -109783536.4063 | -116520244.0004 | -123670339.8919 | -131259191.0547 | -139313721.07 | -31667579.7286 | -33610814.8604 | -35673293.7997 | -37862333.7697 | -40185701.0048 | -42651638.3028 | -45268894.269 | -48046754.3542 | -50995073.7974 | -54124312.59 | -57445572.5857 | -60970636.8872 | -64712011.6505
Interest expenses |  |  |  | 0 | -67215343.104 | -66925237.3624 | -63065846.0032 | -58064039.8983 | -52755305.2114 | -47120807.7147 | -41140557.4457 | -34793337.7865 | -28056630.1925 | -20906534.3009 | -13317683.1381 | -5263153.1229 | -35489196.3255 | -33545961.1936 | -31483482.2544 | -29294442.2844 | -26971075.0493 | -24505137.7513 | -21887881.7851 | -19110021.6998 | -16161702.2567 | -13032463.4641 | -9711203.4684 | -6186139.1669 | -2444764.4036
Increase of equity |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Cash Flow |  |  |  | -2462100480 | 178462774.008 | 158868843.1081 | 117543660.3048 | 114675545.9183 | 111659067.7113 | 108483554.647 | 105137607.7352 | 101609050.0604 | 97884873.3722 | 93951181.0028 | 89793126.8579 | 85394850.2094 | 162036986.9193 | 157819284.6051 | 153350721.5873 | 148613316.8754 | 143587839.7474 | 138253722.644 | 132588967.9877 | 126570048.5061 | 120171800.6036 | 113367310.2981 | 106127791.2035 | 98422454.0033 | 90218366.8207
Equity Financing |  |  |  | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144 | 738630144
Debt Financing |  |  |  | 1120255718.4 | 1120255718.4 | 1081284847.114 | 999773818.9243 | 913260984.6299 | 821439415.6484 | 723983349.1703 | 620547032.4232 | 510763496.0169 | 394243252.0166 | 270572912.1246 | 139313721.07 | 603214617.6 | 571547037.8714 | 537936223.011 | 502262929.2113 | 464400595.4416 | 424214894.4368 | 381563256.134 | 336294361.865 | 288247607.5108 | 237252533.7134 | 183128221.1233 | 125682648.5377 | 64712011.6505 | -9.7789e-07
Total Financing |  |  |  | 1858885862.4 | 1858885862.4 | 1819914991.114 | 1738403962.9243 | 1651891128.6299 | 1560069559.6484 | 1462613493.1703 | 1359177176.4232 | 1249393640.0169 | 1132873396.0166 | 1009203056.1246 | 877943865.07 | 1341844761.6 | 1310177181.8714 | 1276566367.011 | 1240893073.2113 | 1203030739.4416 | 1162845038.4368 | 1120193400.134 | 1074924505.865 | 1026877751.5108 | 975882677.7134 | 921758365.1233 | 864312792.5377 | 803342155.6505 | 738630144
Debt Financing % |  |  |  | 60.26% | 60.26% | 59.41% | 57.51% | 55.29% | 52.65% | 49.5% | 45.66% | 40.88% | 34.8% | 26.81% | 15.87% | 44.95% | 43.62% | 42.14% | 40.48% | 38.6% | 36.48% | 34.06% | 31.29% | 28.07% | 24.31% | 19.87% | 14.54% | 8.055% | -1.324e-13%
Equity Financing % |  |  |  | 39.74% | 39.74% | 40.59% | 42.49% | 44.71% | 47.35% | 50.5% | 54.34% | 59.12% | 65.2% | 73.19% | 84.13% | 55.05% | 56.38% | 57.86% | 59.52% | 61.4% | 63.52% | 65.94% | 68.71% | 71.93% | 75.69% | 80.13% | 85.46% | 91.94% | 100%
WACC CALCULATION
Cost of debt (Annual) |  | 6% |  | 0: Company Leverage; 4: 0.03%
Risk-free rate in the Philippines |  | 4.625% |  | 0: Company Beta (Company A); 4: 0.53
Tax rate |  | 10%
Market risk premium in the Philippines |  | 7.27%
Project Beta
Debt / Equity |  |  |  | 1.5167 | 1.5167 | 1.4639 | 1.3536 | 1.2364 | 1.1121 | 0.98017 | 0.84013 | 0.6915 | 0.53375 | 0.36632 | 0.18861 | 0.81667 | 0.77379 | 0.72829 | 0.67999 | 0.62873 | 0.57433 | 0.51658 | 0.45529 | 0.39025 | 0.32121 | 0.24793 | 0.17016 | 0.087611 | -1.3239e-15
Beta Unlevered |  |  |  | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986 | 0.52986
Project Beta |  |  |  | 1.2531 | 1.2531 | 1.228 | 1.1753 | 1.1195 | 1.0602 | 0.99727 | 0.93049 | 0.85961 | 0.78439 | 0.70454 | 0.6198 | 0.9193 | 0.89886 | 0.87716 | 0.85413 | 0.82968 | 0.80374 | 0.7762 | 0.74697 | 0.71595 | 0.68303 | 0.64809 | 0.611 | 0.57164 | 0.52986
Cost of Equity |  |  |  | 13.74% | 13.74% | 13.55% | 13.17% | 12.76% | 12.33% | 11.88% | 11.39% | 10.87% | 10.33% | 9.747% | 9.131% | 11.31% | 11.16% | 11% | 10.83% | 10.66% | 10.47% | 10.27% | 10.06% | 9.83% | 9.591% | 9.337% | 9.067% | 8.781% | 8.477%
WACC |  |  |  | 8.712% | 8.712% | 8.709% | 8.701% | 8.693% | 8.682% | 8.67% | 8.655% | 8.636% | 8.613% | 8.582% | 8.539% | 8.652% | 8.647% | 8.641% | 8.635% | 8.628% | 8.619% | 8.61% | 8.599% | 8.586% | 8.572% | 8.555% | 8.534% | 8.508% | 8.477%
DISCOUNTED CASH FLOW
(in 000's of PHP) |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | Residual / Salvage Value
Net Cash Flow |  |  |  | -738630144 | 178462774.008 | 158868843.1081 | 117543660.3048 | 114675545.9183 | 111659067.7113 | 108483554.647 | 105137607.7352 | 101609050.0604 | 97884873.3722 | 93951181.0028 | 89793126.8579 | 85394850.2094 | 162036986.9193 | 157819284.6051 | 153350721.5873 | 148613316.8754 | 143587839.7474 | 138253722.644 | 132588967.9877 | 126570048.5061 | 120171800.6036 | 113367310.2981 | 106127791.2035 | 98422454.0033 | 90218366.8207 | -1.4901e-07
WACC |  |  |  | 8.712% | 8.712% | 8.709% | 8.701% | 8.693% | 8.682% | 8.67% | 8.655% | 8.636% | 8.613% | 8.582% | 8.539% | 8.652% | 8.647% | 8.641% | 8.635% | 8.628% | 8.619% | 8.61% | 8.599% | 8.586% | 8.572% | 8.555% | 8.534% | 8.508% | 8.477%
Discounted Cash Flow |  |  |  | -738630144 | 164161109.205 | 134434429.9229 | 91515737.1387 | 82162100.8925 | 73637638.1831 | 65872747.7476 | 58804341.2869 | 52375611.4835 | 46536075.5317 | 41242144.5325 | 36458847.9541 | 31547514.3352 | 55128761.6445 | 49457231.0863 | 44274057.8063 | 39538412.6465 | 35212867.9982 | 31263114.0672 | 27657698.8838 | 24367790.0709 | 21366956.5549 | 18630968.5578 | 16137614.3481 | 13866532.3543 | 11799057.329
PV of Cumulative Cash Flows |  |  |  | 0: 528819217.5614
FINANCIAL METRICS
REQUIRED RATE OF RETURN (WACC Average) |  | 8.622% |  | 2: (Note: Research on BEC's required rate of return)
PROJECT CASH FLOW |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
(in 000's of PHP)
Construction Cost |  |  |  | -2462100480 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generation Income |  |  |  | 0 | 254564645.424 | 275804473.4448 | 273295053.3081 | 270664015.7792 | 267902232.7367 | 264999940.1648 | 261946693.6261 | 258731320.6162 | 255341869.5842 | 251765555.3839 | 247988700.9077 | 243996674.6333 | 239773823.8009 | 235303402.9109 | 230567497.2178 | 225546940.8678 | 220221229.3073 | 214568425.5588 | 208565059.937 | 202186022.7447 | 195404449.4578 | 188191597.873 | 180516716.6564 | 172346904.6896 | 163646960.5715
Taxes |  |  |  | 0 | -8886528.312 | -11039521.6882 | -11174518.8105 | -11411595.6681 | -11666290.8325 | -11939511.325 | -12232211.698 | -12545396.363 | -12880122.0192 | -13237500.1883 | -13618699.857 | -14024950.231 | -10580060.8275 | -10327342.2517 | -10059999.5763 | -9776847.9383 | -9476613.5058 | -9157926.8608 | -8819315.8952 | -8459198.1845 | -8075872.8001 | -7667511.5209 | -7232149.3988 | -6767674.6323 | -6271817.6968
Sale / Salvage Value |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4901e-07
Total Cash Flow |  |  |  | -2462100480 | 245678117.112 | 264764951.7566 | 262120534.4976 | 259252420.1111 | 256235941.9042 | 253060428.8398 | 249714481.928 | 246185924.2532 | 242461747.565 | 238528055.1956 | 234370001.0507 | 229971724.4023 | 229193762.9734 | 224976060.6592 | 220507497.6414 | 215770092.9295 | 210744615.8015 | 205410498.6981 | 199745744.0418 | 193726824.5602 | 187328576.6577 | 180524086.3521 | 173284567.2576 | 165579230.0574 | 157375142.8747
FINANCING CASH FLOW
|  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
(in 000's of PHP)
Loan Drawdown |  |  |  | 1723470336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Contribution |  |  |  | 738630144 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest + Principal Payment |  |  |  | 0 | -67215343.104 | -105896108.6484 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -144576874.1928 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541 | -67156776.0541
Net Cash Flow |  |  |  | 0 | 178462774.008 | 158868843.1081 | 117543660.3048 | 114675545.9183 | 111659067.7113 | 108483554.647 | 105137607.7352 | 101609050.0604 | 97884873.3722 | 93951181.0028 | 89793126.8579 | 85394850.2094 | 162036986.9193 | 157819284.6051 | 153350721.5873 | 148613316.8754 | 143587839.7474 | 138253722.644 | 132588967.9877 | 126570048.5061 | 120171800.6036 | 113367310.2981 | 106127791.2035 | 98422454.0033 | 90218366.8207
Cash Flow to Equity Holders |  |  |  | -738630144 | 178462774.008 | 158868843.1081 | 117543660.3048 | 114675545.9183 | 111659067.7113 | 108483554.647 | 105137607.7352 | 101609050.0604 | 97884873.3722 | 93951181.0028 | 89793126.8579 | 85394850.2094 | 162036986.9193 | 157819284.6051 | 153350721.5873 | 148613316.8754 | 143587839.7474 | 138253722.644 | 132588967.9877 | 126570048.5061 | 120171800.6036 | 113367310.2981 | 106127791.2035 | 98422454.0033 | 90218366.8207
FINANCIAL METRICS
(in % and 000's of PHP)
Project IRR |  |  | 8.336%
Equity IRR |  |  | 17.12%
Project NPV |  |  | -53641921.7101
Equity NPV |  |  | 528338957.7948
ROI |  |  | 21.46%
Debt Service Coverage Ratio (DSCR) |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
EBITDA |  |  |  | 0 | 254564645.424 | 275804473.4448 | 273295053.3081 | 270664015.7792 | 267902232.7367 | 264999940.1648 | 261946693.6261 | 258731320.6162 | 255341869.5842 | 251765555.3839 | 247988700.9077 | 243996674.6333 | 239773823.8009 | 235303402.9109 | 230567497.2178 | 225546940.8678 | 220221229.3073 | 214568425.5588 | 208565059.937 | 202186022.7447 | 195404449.4578 | 188191597.873 | 180516716.6564 | 172346904.6896 | 163646960.5715
Interest Expense |  |  |  | 0 | 67215343.104 | 66925237.3624 | 63065846.0032 | 58064039.8983 | 52755305.2114 | 47120807.7147 | 41140557.4457 | 34793337.7865 | 28056630.1925 | 20906534.3009 | 13317683.1381 | 5263153.1229 | 35489196.3255 | 33545961.1936 | 31483482.2544 | 29294442.2844 | 26971075.0493 | 24505137.7513 | 21887881.7851 | 19110021.6998 | 16161702.2567 | 13032463.4641 | 9711203.4684 | 6186139.1669 | 2444764.4036
Principal Payments |  |  |  | 0 | 0 | 38970871.286 | 81511028.1897 | 86512834.2945 | 91821568.9814 | 97456066.4781 | 103436316.7471 | 109783536.4063 | 116520244.0004 | 123670339.8919 | 131259191.0547 | 139313721.07 | 31667579.7286 | 33610814.8604 | 35673293.7997 | 37862333.7697 | 40185701.0048 | 42651638.3028 | 45268894.269 | 48046754.3542 | 50995073.7974 | 54124312.59 | 57445572.5857 | 60970636.8872 | 64712011.6505
Total Debt Service |  |  |  | 0 | 67215343.104 | 105896108.6484 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 144576874.1928 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541 | 67156776.0541
DSCR |  |  |  | 0 | 3.7873 | 2.6045 | 1.8903 | 1.8721 | 1.853 | 1.8329 | 1.8118 | 1.7896 | 1.7661 | 1.7414 | 1.7153 | 1.6877 | 3.5704 | 3.5038 | 3.4333 | 3.3585 | 3.2792 | 3.195 | 3.1056 | 3.0107 | 2.9097 | 2.8023 | 2.688 | 2.5663 | 2.4368
Average DSCR |  |  |  | 0: 2.4697
SENSITIVITY ANALYSIS
Minimum Financial Target by Management
Instructions: Encode desired financial metric value below for data table to highlight desirable financial scenarios (Highlighted in green)
Project IRR | 7% |  | Equity NPV (in 000's of PHP) | 2: 600000000
Project NPV (in 000's of PHP) | 30000000 |  | ROI | 2: 25%
Equity IRR | 12% |  | DSCR | 2: 1.2
Project Cost | 2462100480 |  | Project Tariff | 2: 8.54
Increase / Decrease in Project Cost |  |  | Increase / Decrease in Project Tariff
% Increase / Decrease | 20% |  | % Increase / Decrease | 2: 20%
Project Cost (000's Php) | Project IRR | Project NPV | Equity IRR | 0: Equity NPV; 1: ROI; 2: DSCR
2462100480 | 8.336% | -53641921.7101 | 17.12% | 0: 528338957.7948; 1: 21.46%; 2: 2.4697
2954520576 | 6.111% | -550571158.7816 | 10.62% | 0: 147805896.6243; 1: 5.003%; 2: 2.0372
1969680384 | 8.874% | 45743925.7042 | 18.74% | 0: 604445570.0289; 1: 25.57%; 2: 2.5778
Project Tariff (000's Php) | Project IRR | Project NPV | Equity IRR | 0: Equity NPV; 1: ROI; 2: DSCR
8.54 | 8.336% | -53641921.7101 | 17.12% | 0: 528338957.7948; 1: 21.46%; 2: 2.4697
10.248 | 11.29% | 524863360.0947 | 25.9% | 0: 1106844239.5996; 1: 44.96%; 2: 3.1503
6.832 | 7.711% | -169342978.071 | 15.33% | 0: 412637901.4338; 1: 16.76%; 2: 2.3335
PROJECT IRR
8.336% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 8.336% | 5.033% | 7.711%
1969680384 | 10.76% | 7.039% | 10.05%
2954520576 | 7.602% | 4.311% | 6.982%
Project Cost (000's Php)
EQUITY IRR
17.12% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 17.12% | 7.749% | 15.33%
1969680384 | 24.64% | 13.74% | 22.52%
2954520576 | 15.07% | 5.688% | 13.31%
Project Cost (000's Php)
PROJECT NPV
-53641921.7101 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | -53641921.7101 | -632147203.5149 | -169342978.071
1969680384 | 327586259.0005 | -227778811.5322 | 216513244.8939
2954520576 | -181030144.7633 | -714180612.4746 | -287660238.3055
Project Cost (000's Php)
EQUITY NPV
528338957.7948 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 528338957.7948 | -50166324.01 | 412637901.4338
1969680384 | 793170962.6043 | 237805892.0717 | 682097948.4978
2954520576 | 377671499.5614 | -155478968.1499 | 271041406.0191
Project Cost (000's Php)
ROI
21.46% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 21.46% | -2.038% | 16.76%
1969680384 | 40.27% | 12.07% | 34.63%
2954520576 | 15.98% | -6.578% | 11.47%
Project Cost (000's Php)
DSCR 25-Yr Ave.
2.4697 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 2.4697 | 1.789 | 2.3335
1969680384 | 2.9482 | 2.1314 | 2.7849
2954520576 | 2.2999 | 1.6464 | 2.1692
Project Cost (000's Php)
PREMIUM COST ANALYSIS
Premium Cost (USD 000's) | 15000000
USD PHP Exchange Rate | 51
Premium Cost (PHP 000's) | 765000000
Project Construction Cost (PHP 000's) | 2462100480
Total Cost Plus Premium (PHP 000's) | 3227100480
Project Cost (000's Php) | Project IRR | Project NPV | Equity IRR | 0: Equity NPV; 1: ROI; 2: DSCR
2462100480 | 8.336% | -53641921.7101 | 17.12% | 0: 528338957.7948; 1: 21.46%; 2: 2.4697
3227100480 | 5.125% | -825647104.7798 | 7.835% | 0: -62838766.5917; 1: -1.947%; 2: 1.8546
PROJECT IRR
8.336% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 8.336% | 5.033% | 7.711%
3227100480 | 4.589% | 1.755% | 4.059%
EQUITY IRR
17.12% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 17.12% | 7.749% | 15.33%
3227100480 | 6.348% | -2.326% | 4.862%
Project Cost (000's Php)
PROJECT NPV
-53641921.7101 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | -53641921.7101 | -632147203.5149 | -169342978.071
3227100480 | -941348161.1408 | -1496131804.005 | -1052421175.2473
Project Cost (000's Php)
EQUITY NPV
528338957.7948 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 528338957.7948 | -50166324.01 | 412637901.4338
3227100480 | -178539822.9527 | -733810767.0724 | -289612837.0592
Project Cost (000's Php)
ROI
21.46% | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 21.46% | -2.038% | 16.76%
3227100480 | -5.533% | -22.74% | -8.974%
Project Cost (000's Php)
DSCR 25-Yr Ave.
2.4697 | 8.54 | 6.832 | 10.248 | 0: Project Tariff (000's Php)
2462100480 | 2.4697 | 1.789 | 2.3335
3227100480 | 1.7507 | 1.2522 | 1.651
Project Cost (000's Php)
Interpretation
Based on the highlighted financial metrics above, it is not feasible for Company A to pursue the project given the additional cost premium
Taking into account the minimum financial metric requirements of the management, most financial metrics (IRR, NPV, ROI) do not meet profitability
standards with the exception of the minimum ballpark value of 1.2 for the 25 year average DSCR
Management Decision - Acquire 60% stake at company
Percentage Stake Acquired | 60% |  |  | 1: Total Project Cost (000's PHP); 2: 2462100480
REQUIRED RATE OF RETURN (WACC Average) | 8.622% |  |  | 1: Project Cost Excluding Premium (000's PHP); 2: 1477260288
Interpretation | A 60% stake of project entitles us to shoulder 60% of project cost and entitles us to receive 60% of profits / cash flow.
(Project cost x 0.6) + Market Premium -> NPV IRR ROI -> Value deemed acceptable by management
| Given Parameters: |  | Unknown:
| Required NPV, IRR, ROI |  | Acquisition Premium - AP
Project Cost x 60%
Cash flow x 60%
|  |  | 10 - Year PSE CAGR Return | 1: 12.86%
PROJECT CASH FLOW |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
(in 000's of PHP)
Construction Cost |  |  |  | -1477260288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Generation Income |  |  |  | 0 | 152738787.2544 | 165482684.0669 | 163977031.9848 | 162398409.4675 | 160741339.642 | 158999964.0989 | 157168016.1757 | 155238792.3697 | 153205121.7505 | 151059333.2304 | 148793220.5446 | 146398004.78 | 143864294.2805 | 141182041.7466 | 138340498.3307 | 135328164.5207 | 132132737.5844 | 128741055.3353 | 125139035.9622 | 121311613.6468 | 117242669.6747 | 112914958.7238 | 108310029.9938 | 103408142.8138 | 98188176.3429
Taxes |  |  |  | 0 | -5331916.9872 | -6623713.0129 | -6704711.2863 | -6846957.4009 | -6999774.4995 | -7163706.795 | -7339327.0188 | -7527237.8178 | -7728073.2115 | -7942500.113 | -8171219.9142 | -8414970.1386 | -6348036.4965 | -6196405.351 | -6035999.7458 | -5866108.763 | -5685968.1035 | -5494756.1165 | -5291589.5371 | -5075518.9107 | -4845523.6801 | -4600506.9125 | -4339289.6393 | -4060604.7794 | -3763090.6181
Sale / Salvage Value |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60% Total Cash Flow |  |  |  | -1477260288 | 147406870.2672 | 158858971.0539 | 157272320.6986 | 155551452.0667 | 153741565.1425 | 151836257.3039 | 149828689.1568 | 147711554.5519 | 145477048.539 | 143116833.1174 | 140622000.6304 | 137983034.6414 | 137516257.784 | 134985636.3955 | 132304498.5848 | 129462055.7577 | 126446769.4809 | 123246299.2188 | 119847446.4251 | 116236094.7361 | 112397145.9946 | 108314451.8113 | 103970740.3546 | 99347538.0344 | 94425085.7248
FINANCING CASH FLOW
|  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
(in 000's of PHP)
Loan Drawdown |  |  |  | 1034082201.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equity Contribution |  |  |  | 443178086.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest + Principal Payment |  |  |  | 0 | -40329205.8624 | -63537665.189 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -86746124.5157 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324 | -40294065.6324
60% Net Cash Flow to Equity Holders |  |  |  | 0 | 107077664.4048 | 95321305.8649 | 70526196.1829 | 68805327.551 | 66995440.6268 | 65090132.7882 | 63082564.6411 | 60965430.0362 | 58730924.0233 | 56370708.6017 | 53875876.1147 | 51236910.1257 | 97222192.1516 | 94691570.7631 | 92010432.9524 | 89167990.1252 | 86152703.8485 | 82952233.5864 | 79553380.7926 | 75942029.1037 | 72103080.3622 | 68020386.1788 | 63676674.7221 | 59053472.402 | 54131020.0924
Sum of PV Cash Flows |  |  | -32185153.026
Required NPV |  |  | 528338957.7948

## Amortization Table
Project Cost (in 000's PHP) |  | 2462100480 |  |  | Annual Interest Rate |  |  |  | 6%
Loan Component (%) |  | 70% |  |  | Initial Quarterly Interest Rate |  |  |  | 1.5%
Loan Amount (in 000's PHP) |  | 1723470336 |  |  | Balloon Payment Amount (in 000's PHP) |  |  |  | 603214617.6
Balloon Payment Portion (%) |  | 35% |  |  | Remaining Balance (in 000's PHP) |  |  |  | 1120255718.4
Loan Tenor (Yrs) |  | 12 |  |  | Initial Loan Payment Amount (in 000's PHP) |  |  |  | -36144218.5482
Loan Tenor (Qtr) |  | 48 |  |  | Balloon Refinance Rate (Quarterly) |  |  |  | 1.5%
Grace Period (Qtr) |  | 6 |  |  | Refinancing Payment Amount (in 000's PHP) |  |  |  | -16789194.0135
Amortization Period (Qtr) |  | 42 |  |  | Refinancing Tenor / Amortization (Qtr) |  |  |  | 52
Quarterly Amortization
| Year | Quarter | Beginning Balance | Payment | Interest | Principal Payment | Drawdown / Renewal | Ending Balance
| 1 | 1 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 1 | 2 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 1 | 3 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 1 | 4 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 2 | 5 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 2 | 6 | 1120255718.4 | -16803835.776 | -16803835.776 | 0 | 0 | 1120255718.4
| 2 | 7 | 1120255718.4 | -36144218.5482 | -16803835.776 | -19340382.7722 | 0 | 1100915335.6278
| 2 | 8 | 1100915335.6278 | -36144218.5482 | -16513730.0344 | -19630488.5138 | 0 | 1081284847.114
| 3 | 9 | 1081284847.114 | -36144218.5482 | -16219272.7067 | -19924945.8415 | 0 | 1061359901.2725
| 3 | 10 | 1061359901.2725 | -36144218.5482 | -15920398.5191 | -20223820.0291 | 0 | 1041136081.2434
| 3 | 11 | 1041136081.2434 | -36144218.5482 | -15617041.2187 | -20527177.3296 | 0 | 1020608903.9138
| 3 | 12 | 1020608903.9138 | -36144218.5482 | -15309133.5587 | -20835084.9895 | 0 | 999773818.9243
| 4 | 13 | 999773818.9243 | -36144218.5482 | -14996607.2839 | -21147611.2643 | 0 | 978626207.66
| 4 | 14 | 978626207.66 | -36144218.5482 | -14679393.1149 | -21464825.4333 | 0 | 957161382.2267
| 4 | 15 | 957161382.2267 | -36144218.5482 | -14357420.7334 | -21786797.8148 | 0 | 935374584.4119
| 4 | 16 | 935374584.4119 | -36144218.5482 | -14030618.7662 | -22113599.782 | 0 | 913260984.6299
| 5 | 17 | 913260984.6299 | -36144218.5482 | -13698914.7694 | -22445303.7788 | 0 | 890815680.8511
| 5 | 18 | 890815680.8511 | -36144218.5482 | -13362235.2128 | -22781983.3354 | 0 | 868033697.5157
| 5 | 19 | 868033697.5157 | -36144218.5482 | -13020505.4627 | -23123713.0855 | 0 | 844909984.4302
| 5 | 20 | 844909984.4302 | -36144218.5482 | -12673649.7665 | -23470568.7818 | 0 | 821439415.6484
| 6 | 21 | 821439415.6484 | -36144218.5482 | -12321591.2347 | -23822627.3135 | 0 | 797616788.3349
| 6 | 22 | 797616788.3349 | -36144218.5482 | -11964251.825 | -24179966.7232 | 0 | 773436821.6118
| 6 | 23 | 773436821.6118 | -36144218.5482 | -11601552.3242 | -24542666.224 | 0 | 748894155.3877
| 6 | 24 | 748894155.3877 | -36144218.5482 | -11233412.3308 | -24910806.2174 | 0 | 723983349.1703
| 7 | 25 | 723983349.1703 | -36144218.5482 | -10859750.2376 | -25284468.3107 | 0 | 698698880.8597
| 7 | 26 | 698698880.8597 | -36144218.5482 | -10480483.2129 | -25663735.3353 | 0 | 673035145.5244
| 7 | 27 | 673035145.5244 | -36144218.5482 | -10095527.1829 | -26048691.3653 | 0 | 646986454.159
| 7 | 28 | 646986454.159 | -36144218.5482 | -9704796.8124 | -26439421.7358 | 0 | 620547032.4232
| 8 | 29 | 620547032.4232 | -36144218.5482 | -9308205.4863 | -26836013.0619 | 0 | 593711019.3614
| 8 | 30 | 593711019.3614 | -36144218.5482 | -8905665.2904 | -27238553.2578 | 0 | 566472466.1036
| 8 | 31 | 566472466.1036 | -36144218.5482 | -8497086.9916 | -27647131.5567 | 0 | 538825334.5469
| 8 | 32 | 538825334.5469 | -36144218.5482 | -8082380.0182 | -28061838.53 | 0 | 510763496.0169
| 9 | 33 | 510763496.0169 | -36144218.5482 | -7661452.4403 | -28482766.108 | 0 | 482280729.909
| 9 | 34 | 482280729.909 | -36144218.5482 | -7234210.9486 | -28910007.5996 | 0 | 453370722.3094
| 9 | 35 | 453370722.3094 | -36144218.5482 | -6800560.8346 | -29343657.7136 | 0 | 424027064.5958
| 9 | 36 | 424027064.5958 | -36144218.5482 | -6360405.9689 | -29783812.5793 | 0 | 394243252.0166
| 10 | 37 | 394243252.0166 | -36144218.5482 | -5913648.7802 | -30230569.768 | 0 | 364012682.2486
| 10 | 38 | 364012682.2486 | -36144218.5482 | -5460190.2337 | -30684028.3145 | 0 | 333328653.9341
| 10 | 39 | 333328653.9341 | -36144218.5482 | -4999929.809 | -31144288.7392 | 0 | 302184365.1949
| 10 | 40 | 302184365.1949 | -36144218.5482 | -4532765.4779 | -31611453.0703 | 0 | 270572912.1246
| 11 | 41 | 270572912.1246 | -36144218.5482 | -4058593.6819 | -32085624.8663 | 0 | 238487287.2583
| 11 | 42 | 238487287.2583 | -36144218.5482 | -3577309.3089 | -32566909.2393 | 0 | 205920378.019
| 11 | 43 | 205920378.019 | -36144218.5482 | -3088805.6703 | -33055412.8779 | 0 | 172864965.1411
| 11 | 44 | 172864965.1411 | -36144218.5482 | -2592974.4771 | -33551244.0711 | 0 | 139313721.07
| 12 | 45 | 139313721.07 | -36144218.5482 | -2089705.816 | -34054512.7322 | 0 | 105259208.3378
| 12 | 46 | 105259208.3378 | -36144218.5482 | -1578888.1251 | -34565330.4231 | 0 | 70693877.9147
| 12 | 47 | 70693877.9147 | -36144218.5482 | -1060408.1687 | -35083810.3795 | 0 | 35610067.5352
| 12 | 48 | 35610067.5352 | -36144218.5482 | -534151.013 | -35610067.5352 | 603214617.6 | 603214617.6
| 13 | 49 | 603214617.6 | -16789194.0135 | -9048219.264 | -7740974.7495 | 0 | 595473642.8505
| 13 | 50 | 595473642.8505 | -16789194.0135 | -8932104.6428 | -7857089.3708 | 0 | 587616553.4797
| 13 | 51 | 587616553.4797 | -16789194.0135 | -8814248.3022 | -7974945.7113 | 0 | 579641607.7684
| 13 | 52 | 579641607.7684 | -16789194.0135 | -8694624.1165 | -8094569.897 | 0 | 571547037.8714
| 14 | 53 | 571547037.8714 | -16789194.0135 | -8573205.5681 | -8215988.4454 | 0 | 563331049.426
| 14 | 54 | 563331049.426 | -16789194.0135 | -8449965.7414 | -8339228.2721 | 0 | 554991821.1538
| 14 | 55 | 554991821.1538 | -16789194.0135 | -8324877.3173 | -8464316.6962 | 0 | 546527504.4576
| 14 | 56 | 546527504.4576 | -16789194.0135 | -8197912.5669 | -8591281.4467 | 0 | 537936223.011
| 15 | 57 | 537936223.011 | -16789194.0135 | -8069043.3452 | -8720150.6684 | 0 | 529216072.3426
| 15 | 58 | 529216072.3426 | -16789194.0135 | -7938241.0851 | -8850952.9284 | 0 | 520365119.4142
| 15 | 59 | 520365119.4142 | -16789194.0135 | -7805476.7912 | -8983717.2223 | 0 | 511381402.1919
| 15 | 60 | 511381402.1919 | -16789194.0135 | -7670721.0329 | -9118472.9806 | 0 | 502262929.2113
| 16 | 61 | 502262929.2113 | -16789194.0135 | -7533943.9382 | -9255250.0753 | 0 | 493007679.1359
| 16 | 62 | 493007679.1359 | -16789194.0135 | -7395115.187 | -9394078.8265 | 0 | 483613600.3095
| 16 | 63 | 483613600.3095 | -16789194.0135 | -7254204.0046 | -9534990.0089 | 0 | 474078610.3006
| 16 | 64 | 474078610.3006 | -16789194.0135 | -7111179.1545 | -9678014.859 | 0 | 464400595.4416
| 17 | 65 | 464400595.4416 | -16789194.0135 | -6966008.9316 | -9823185.0819 | 0 | 454577410.3597
| 17 | 66 | 454577410.3597 | -16789194.0135 | -6818661.1554 | -9970532.8581 | 0 | 444606877.5015
| 17 | 67 | 444606877.5015 | -16789194.0135 | -6669103.1625 | -10120090.851 | 0 | 434486786.6505
| 17 | 68 | 434486786.6505 | -16789194.0135 | -6517301.7998 | -10271892.2138 | 0 | 424214894.4368
| 18 | 69 | 424214894.4368 | -16789194.0135 | -6363223.4166 | -10425970.597 | 0 | 413788923.8398
| 18 | 70 | 413788923.8398 | -16789194.0135 | -6206833.8576 | -10582360.1559 | 0 | 403206563.6839
| 18 | 71 | 403206563.6839 | -16789194.0135 | -6048098.4553 | -10741095.5583 | 0 | 392465468.1256
| 18 | 72 | 392465468.1256 | -16789194.0135 | -5886982.0219 | -10902211.9916 | 0 | 381563256.134
| 19 | 73 | 381563256.134 | -16789194.0135 | -5723448.842 | -11065745.1715 | 0 | 370497510.9625
| 19 | 74 | 370497510.9625 | -16789194.0135 | -5557462.6644 | -11231731.3491 | 0 | 359265779.6134
| 19 | 75 | 359265779.6134 | -16789194.0135 | -5388986.6942 | -11400207.3193 | 0 | 347865572.2941
| 19 | 76 | 347865572.2941 | -16789194.0135 | -5217983.5844 | -11571210.4291 | 0 | 336294361.865
| 20 | 77 | 336294361.865 | -16789194.0135 | -5044415.428 | -11744778.5855 | 0 | 324549583.2794
| 20 | 78 | 324549583.2794 | -16789194.0135 | -4868243.7492 | -11920950.2643 | 0 | 312628633.0151
| 20 | 79 | 312628633.0151 | -16789194.0135 | -4689429.4952 | -12099764.5183 | 0 | 300528868.4968
| 20 | 80 | 300528868.4968 | -16789194.0135 | -4507933.0275 | -12281260.9861 | 0 | 288247607.5108
| 21 | 81 | 288247607.5108 | -16789194.0135 | -4323714.1127 | -12465479.9009 | 0 | 275782127.6099
| 21 | 82 | 275782127.6099 | -16789194.0135 | -4136731.9141 | -12652462.0994 | 0 | 263129665.5105
| 21 | 83 | 263129665.5105 | -16789194.0135 | -3946944.9827 | -12842249.0309 | 0 | 250287416.4797
| 21 | 84 | 250287416.4797 | -16789194.0135 | -3754311.2472 | -13034882.7663 | 0 | 237252533.7134
| 22 | 85 | 237252533.7134 | -16789194.0135 | -3558788.0057 | -13230406.0078 | 0 | 224022127.7055
| 22 | 86 | 224022127.7055 | -16789194.0135 | -3360331.9156 | -13428862.0979 | 0 | 210593265.6076
| 22 | 87 | 210593265.6076 | -16789194.0135 | -3158898.9841 | -13630295.0294 | 0 | 196962970.5782
| 22 | 88 | 196962970.5782 | -16789194.0135 | -2954444.5587 | -13834749.4548 | 0 | 183128221.1233
| 23 | 89 | 183128221.1233 | -16789194.0135 | -2746923.3169 | -14042270.6967 | 0 | 169085950.4267
| 23 | 90 | 169085950.4267 | -16789194.0135 | -2536289.2564 | -14252904.7571 | 0 | 154833045.6696
| 23 | 91 | 154833045.6696 | -16789194.0135 | -2322495.685 | -14466698.3285 | 0 | 140366347.3411
| 23 | 92 | 140366347.3411 | -16789194.0135 | -2105495.2101 | -14683698.8034 | 0 | 125682648.5377
| 24 | 93 | 125682648.5377 | -16789194.0135 | -1885239.7281 | -14903954.2855 | 0 | 110778694.2522
| 24 | 94 | 110778694.2522 | -16789194.0135 | -1661680.4138 | -15127513.5997 | 0 | 95651180.6525
| 24 | 95 | 95651180.6525 | -16789194.0135 | -1434767.7098 | -15354426.3037 | 0 | 80296754.3488
| 24 | 96 | 80296754.3488 | -16789194.0135 | -1204451.3152 | -15584742.6983 | 0 | 64712011.6505
| 25 | 97 | 64712011.6505 | -16789194.0135 | -970680.1748 | -15818513.8388 | 0 | 48893497.8117
| 25 | 98 | 48893497.8117 | -16789194.0135 | -733402.4672 | -16055791.5463 | 0 | 32837706.2654
| 25 | 99 | 32837706.2654 | -16789194.0135 | -492565.594 | -16296628.4195 | 0 | 16541077.8458
| 25 | 100 | 16541077.8458 | -16789194.0135 | -248116.1677 | -16541077.8458 | 0 | -9.7789e-07